| Resuscitation Trolley Checklist |
| --- |
| Ward/Department - |
| COMPLETE DAILY OR IF USED- Tick items are present and in date |
|  | Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TOP + MIDDLE |  |  |
| Oxygen cylinder + flowmeter (Min 3/4 full) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction device in date (PAT tested 4 yearly) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction device tested & functional |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Defibrillator (Daily test completed and plugged in to charge) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Spare battery (Zoll AED only) | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Defibrillator pads | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag valve mask reservoir with oxygen tubing connected & HME Filter | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cardiac Arrest Proforma | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non-sterile gloves (s,m,l) | 1 Box each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drug box (In date) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sharps bin | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide Sheet (Unopened) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMPLETE EVERY MONDAY OR IF SEAL IS BROKEN - Tick items are present and in date |
| TOP DRAW |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non-rebreathing oxygen mask with tubing | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guedel airway (Sizes: 2,3,4) | 1 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Paediatric face mask (for neck breathers) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Magills forceps | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nasopharyngeal airway (Sizes: 6,7) | 1 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tough cut Scissor & Ligature Cutters | 1 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yankuer catheter | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I-gel (Sizes 3,4,5) | 1 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If Tag code doesn’t match to previous code full check to be completed | Tag Code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BOTTOM DRAW |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ported Cannula: 14g-Orange, 16g- Grey ,18g- Green, 20g-Pink | 4 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Syringes 2ml, 5 ml, 10ml, 20ml | 4 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety Needles 21g, 23g, 25g, Blunt fill filter needle 18g | 4 each |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Arterial Blood Gas Syringes | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Small ChloraPrep for Cannulation | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cannula Dressing | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Blood giving set | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E.C.G. electrodes (Specialised areas with pacing defibrillator) | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FFP3 Mask | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Eye Protection (goggles/visor) | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Surgical Gown | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Anaphylaxis Kit | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If Tag code doesn’t match to previous code full check to be completed | Tag Code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Initials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Resus stock to be obtained from Ward 12 Resus stock cupboard (keys to be obtained from Security). Forms to be kept for audit.