## Slide 1
ROYAL LIVERPOOL & BROADGREEN SITE
Clinical Education Department 0151 529 5317
EMERGENCY TROLLEY CONTENTS
THEATRES AREAS ONLY
SUCTION MACHINE AVAILABLE ON TOP OF TROLLEY- READY TO USE WITH TUBING & YANKEUR SUCTION CATHETER ALL WITHIN SEALED PACKAGING
TOP OF TROLLEY
1x Oxygen cylinder at least 3/4 full, with oxygen tubing attached
1x Bag Valve Mask with HME filter
1x Sharps container
1x Advisory/hands free defibrillator pads
1X Box medium size gloves
TOP DRAWER
6x Sodium Chloride 0.9% flush – 10 ml pre-filled syringes
4x Safety needles - (blue/green/blunt)
2x Each size ported Cannula sizes 14g - orange, 16g – grey, 18g – green
2x 3-Way taps
2x Gauze swabs
1x Tape
4 x IV dressings
10x alcohol swabs
2x disposable tourniquets
2x Cling bandages
2x Arterial blood gas syringes
2x Syringes sizes 5, 10 & 20ml
SECOND DRAWER
1x Adult non-rebreather O2 mask with tubing
1x Guedal airways - sizes 2, 3 & 4
1x Nasopharyngeal airway sizes 6mm
or 28F & 7mm or 32F
4x Sachets lubricant
1x Resuscitation mask for neck breathers with
one way valve
1x Cuffed endotracheal tubes of each size - sizes 6, 7, 8 & 9 (All tubes low pressure, uncut and in sealed packaging)
1x Catheter Mount with HME filter
1x Laryngoscope handle and
mac blades sizes 3 &4 single use
1x Intubation stylet
1x Stethoscope
1x Magills forceps – Disposable
1x Bandage/tape to secure ET tube
1x Adult Yankauer suction catheter
1x Strong scissors
1x Bougie
1x 20ml Syringe
1x Fine bore suction catheter sizes 10,12,14,16
1x i-Gel sizes 3, 4 & 5
THIRD DRAWER
2x Blood giving set
1x IV giving set
1x 1000ml Sodium Chloride 0.9%
4x Disposable gowns
4x FFP3 respirator
4 x Disposable eye protection
BOTTOM OF TROLLEY
2x Sealed bag of x3 ECG electrodes (applicable to areas with multi-function defibrillator only)
1x Emergency drug box - in date
1x Anaphylaxis Kit – in date
1x Spare ECG Roll (applicable to areas with multi-function defibrillators only)
1x Packet advisory hands free pads
1x set internal defibrillator paddles ( RH Main and hybrid theatres only)
N.B
No additional equipment should be placed in this trolley, without consultation with a Resuscitation Officer on 0151 529 5317
The Equipment in this trolley is single use and therefore must be disposed of correctly and replaced ASAP after every use or if out of date. Do not open packaging of items. Any items where packing has been opened is presumed used and therefore to be replaced.
PLEASE ENSURE THAT ALL EXPIRY
DATES ARE CHECKED

## Slide 2
ROYAL LIVERPOOL & BROADGREEN SITE
Clinical Education Department 0151 529 5317
Adult Emergency Equipment Box Contents
1x Oxygen Cylinder (minimum D/CD size) with tubing and at least ¾ full
1 x BLUE DRUG BOX & 1 x Anaphylaxis Kit
No additional equipment should be placed in this box, without consultation with a Resuscitation Officer on 0151 529 5317
The Equipment in this box once used or if out of date must be replaced ASAP.
PLEASE ENSURE THAT ALL EXPIRY DATES ARE CHECKED
Airway Drawer
1x Pair of Magills Forceps – Disposable
1x Strong scissors
1x Guedal airway- sizes 2, 3 & 4
1x Adult Yankauer Suction Catheter
1x Resuscitation mask for neck breather with one way valve
1x i-Gel size 3, 4 &, 5
4x Sachets lubricant
Available with box
4x Disposable gowns
4x FFP3 respirator
4 x Disposable eye protection
Sundry Items
1x Blood giving set + IV giving set
4x IV dressings
2x disposable tourniquets
2x Ported cannulas sizes 14g orange,
16g - grey, 18g - green
4x Safety needles of each size (blue/ green/blunt)
2x Arterial blood gas syringes
3x Sodium Chloride 0.9% flush – 10 ml pre-filled syringes
2x 10ml syringes
2x 3-way taps
1x Adult non-rebreather O2 mask with tubing
4x Packets gauze swabs
5x Alcowipes/medi-swabs
1x Bag Valve Mask with HME filter
1x 1000mls 0.9% Normal Saline
1x Hand held suction (if no other portable suction available – to be kept with box)
1x Small sharps bin
10x Security seals

## Slide 3
ROYAL LIVERPOOL & BROADGREEN SITE
Clinical Education 0151 529 5317
Paediatric Emergency Equipment Box Contents
1 x Oxygen Cylinder (minimum D/CD size) with tubing and at least ¾ full
1x Paediatric Drugs Box
Airway Draw
1x of Each size 00, 0, 1, 2, 3 Guedel airway
1 X Laryngoscope handle and blade sizes 0, 00 & 1
1x Strong scissors
1x Endotracheal Tube (ET) of each size 3mm, 3.5mm, 4mm, 4.5mm, 5mm, 5.5mm, 6mm, 6.5mm, 7mm
(All ET tubes uncut, without cuff & remain sealed within packaging)
1x tape/bandage to secure ET tube
1x Magills forceps – paediatric
1x Paediatric Yankauer suction catheter
(with control port)
1x Fine Bore Suction Catheter gauge 8ch
1x Paediatric Intubation stylet
1x Catheter mount with HME filter
N.B
No additional equipment should be placed in this trolley, without consultation with a Resuscitation Officer on 0151 529 5317
The Equipment in this trolley is single use and therefore must be disposed of correctly and replaced ASAP after every use or if out of date. Do not open packaging of items. Any items where packing has been opened is presumed used and therefore to be replaced.
Sundry Items
2x Adult IV film dressing
1x Disposable tourniquet
1x Needleless connector
1x 50 ml & 1ml syringe
2x 10ml, 5ml and 2ml syringe
2x 3 way taps
4x Packets gauze swabs
2x Ported cannula sizes -16g,18g,20g,22g,24g
4x Needles sizes 21g, 23g, 25g,27g
1x Blood giving set
1x Burette giving set
1x Paediatric non-rebreather O2 mask with tubing
1x Paediatric Bag Valve Mask with HME filter, 1x Facemask sizes 01, 2
5x Alcohol Swabs
1x Roll of Tape
1x 1000mls 5% Glucose.
1x 1000mls 0.9% Normal Saline.
1x Hand held suction with tubing
1x Small sharps bin
10x Box Security Seals
Available with box
4x Disposable gowns
4x FFP3 respirator
4 x Disposable eye protection

## Slide 4
ROYAL LIVERPOOL & BROADGREEN SITE
Clinical Education 0151 529 5317
Dental Hospital - Additional Paediatric Emergency Equipment
(Within Resuscitation Trolley)
Airway Draw
1x of each size 00, 0, 1, 2, 3 Guedel Airway
1x Disposable Laryngoscope handle and blade sizes 0,00, 1
1x Endotracheal Tube (ET) sizes 3mm, 3.5mmm,4.5mm, 5mm, 5.5mm, 6mm, 6.5mm, 7mm
(All ET tubes uncut, without cuff & remain sealed in their packet)
1x Magills forceps – Paediatric
1x Paediatric Yankauer Suction Catheter with control port and tubing
1x Fine bore suction catheter gauge 8ch
1x Paediatric Intubation stylet
1x Catheter mount
1x Laryngeal mask Airway sizes 2 and 2.5
Sundry Items
1x Needleless connector
1x 50 ml syringes
1x Burette giving set
1x High concentration oxygen mask – Child
1 x Paediatric Drug Box
N.B.
No additional equipment should be placed in this trolley, without consultation with the Resuscitation Officer 0151 529 5317
The Equipment in this box once used or if out of date must be replaced ASAP.
PLEASE ENSURE THAT ALL EXPIRY DATES ARE CHECKED

## Slide 5
ROYAL LIVERPOOL & BROADGREEN SITES
Clinical Education 0151 529 5317
EMERGENCY GRAB BAG FOR NON CLINICAL AREAS
CONTENTS
1x Oxygen cylinder Size D or CD with tubing
1x Bag Valve Mask with HME filter
1x Non re-breathing oxygen mask with tubing
1x Guedel airways - size 2, 3 & 4
1x Handheld suction with tubing
1x Strong scissors
2x pairs of latex free gloves
1x Resuscitation mask for neck breathers with one way valve
Available with bag
4x Disposable gowns
4x FFP3 respirator
4 x Disposable eye protection
N.B
No additional equipment should be placed in this emergency grab bag, without consultation with a Resuscitation Officer on 0151 529 5317
The Equipment in this grab bag is single use and therefore must be disposed of correctly and replaced ASAP after every use or if out of date. Do not open packaging of items. Any items where packing has been opened is presumed used and therefore to be replaced.
PLEASE ENSURE THAT ALL EXPIRY
DATES ARE CHECKED

## Slide 6
ROYAL LIVERPOOL & BROADGREEN SITE
Clinical Education 0151 529 5317
EMERGENCY TROLLEY CONTENTS AT SATELITE UNITS
SUCTION MACHINE AVAILABLE ON TOP OF TROLLEY- READY TO USE WITH TUBING & YANKEUR SUCTION CATHETER ALL WITHIN SEALED PACKAGING
TOP OF TROLLEY
1x Oxygen cylinder at least 3/4 full with oxygen tubing attached
1x Bag Valve Mask with HME filter
1x Box of gloves (medium)
1x Sharps container
AIRWAY DRAWER
1x Adult non-rebreather O2 mask with tubing
1x Guedal airway sizes 2, 3 & 4
1x Nasopharangeal airway sizes 6mm or 28F & 7mm or 32F
4x Sachets lubricant
1x Resuscitation mask for neck breathers with one way valve
1x Magills forceps
1x Strong scissors
1x Stethoscope
2x Syringes sizes 5, 10 & 20ml
1x Adult Yankeur suction catheter
N.B
No additional equipment should be placed in this trolley, without consultation with a Resuscitation Officer on ext. 0151 529 5317
The equipment in this trolley is single use and therefore must be disposed of correctly and replaced ASAP after every use or if out of date. Do not open packaging of items. Any items where packing has been opened is presumed used and therefore to be replaced.
PLEASE ENSURE THAT ALL EXPIRY DATES ARE CHECKED
IV FLUIDS DRAWER
1x IV giving set
1x 1000ml Sodium Chloride 0.9%
BOTTOM OF TROLLEY
1x Advisory/hands free defibrillator pads
4x disposable gowns
4x FFP3 respirator
4 x disposable eye protection
1x Packet advisory/hands free defibrillator pads